## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Feetham Court
Forest Hall
Newcastle
NE12 9qj
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9255
DATE OF REPORT: 21/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 25 Feetham Court
Forest Hall
Newcastle
NE12 9qj
Carried Out On | 17/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 3: Report
Attend site for no hot water Gain access to plant room find all plant in automatic but boilers not firing turn boi,ers onto manual and wait until hot water up to temp this is a bms fault . Offsite - complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes