## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Mayfield Park
Bristol Drive
Wallsend
NE29 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9256
DATE OF REPORT: 17/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 46 Mayfield Park
Bristol Drive
Wallsend
NE29 9BF
Carried Out On | 17/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Overheating within flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 3: Report
Attend site 1515 Find all 6 cartridges leaking and passing when closed also 4 of the actuators without power in the open position and should be closed , isolate the manifolds and will order new giacomini actuators and cartridges next week. Heating now off but explained to tenant that the flat will take a few hours to cool down Parts required 6 x giacomini cartridges 4 x giacomini 230v actuators Offsite 1630 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9256
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes