## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Mayfield Park
Bristol Drive
Battle Hill
Ne28 9bf
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9257
DATE OF REPORT: 21/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 46 Mayfield Park
Bristol Drive
Battle Hill
Ne28 9bf
Carried Out On | 18/07/2021, , 20/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Overheating within flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 3: Report
Attend - gain access to property checked underfloor heating is off which it is because it was isolated yesterday on the manifolds. Check with a thermal imaging camera images taken heating definitely off Find building very hot so gained access to plamt room found boiler is on manual and set for 62⁰ this site has underfloor heating so reset temperature to 49⁰ and put boilers back into auto which turned them off Check bms panel. Bms room space temperature set for 28.5⁰ this cannot be altered by myself strongly advise that these temperatures are lowered so the heating isn't constantly on Offsite Onsite 20/07/21 Pick up parts travel to site Isolate underfloor heating manifold, drain down and stripmout 6 x underfloor cartridges and replace with 6 New fill and vent test all ok, also replace 4 x actuators test operation of all components all ok . Room temp 29° when I arrived with underfloor heating off Parts used 6 x giacomini underfloor heating cartridges van stock £18 each 4 x giacomini underfloor heating actuators van stock £28 each

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 4: Photos
Room / Area
Description
Notes
Image of underfloor heating to prove its not on
Room / Area
Description
Notes
29° room temp with all heating off
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes