## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Delight Court
Dipton
Stanley
DH9 9XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9259
DATE OF REPORT: 18/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Delight Court
Dipton
Stanley
DH9 9XL
Carried Out On | 18/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 3: Report
Attend site 2045 for no hotbwater Find gas saftey circuit tripped, reset and wait until all up to temp This has happened twice in 48 hrs this needs looking at why the fire circuit is tripping Offsite 2115 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes