## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms Communal Area
Chester-Le-Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9262
DATE OF REPORT: 11/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms Communal Area
Chester-Le-Street
County Durham
DH2 3EJ
Carried Out On | 19/07/2021, 11/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Several rooms/residents reporting no heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 3: Report
Traced fault to a faulty pressurisation unit . The duty pump had failed required so switched over pump refilled up system then all prpererties started working Attend site 11 /08/21 Travel to wholesalers to collect parts travel to site. In form site that switching pressurisation unit off will affect pumps which will stop heating hot water for the duration of the repair . Gain access tonplant room and isolate pressurisation unit an drain down once drained, strip out the no 2 pump replacing with a new pump , modified the pipework as new pump is smaller and wire up , test operation all ok Parts used 1 no pressurisation pump Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes