## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Lynwood House
34 Duham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9270
DATE OF REPORT: 02/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Lynwood House
34 Duham Road
Lanchester
DH7 0LS
Carried Out On | 19/07/2021, 20/07/2021, 28/07/2021, 29/07/2021, 02/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Repair hot water for flat 13 - Repair hot water for flat 13 it takes about a minute or so before the water turns hot no Covid19 symptoms

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 3: Report
No circulation on secondary hot water system one issue I found was a tmv passing under the basin in the bathroom so this has to be sorted first then on to the diagnosis of reason for no circulation Replaced a thermostatic mixing valve in bathroom and then found hot water system and secondary hot water had been installed wrong so stripped out and installed correctly. System is now all operating properly and customer very happy Refit services hatch

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes