## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9283
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 19/07/2021, 21/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Please check heating tenant is unable to turn off under floor heating and the property is so hot. Reported by scheme manager. Pick up actuators/cartridges needed from Upinor.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 3: Report
Attend site 1700 for over heating issues Gain access to manifold's and find they are passing when off isolate the manifold and order 4 x uponor actuator and cartridges Will return to site when parts in stock Offsite 1730 21/07/21 1500 Isolate and drain underfloor heating strip out 4 underfloor cartridges and replace , change the 4 actuators and test all operation of all components Notice water meters x 2 leaking needs changing out Parts used 4x uponor underfloor heating cartridges van stock 4 x uponor underfloor heating actuators van stock Offsite 1600 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes