## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Denecrest
Consett
Co Duham
DH8 6PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9284
DATE OF REPORT: 20/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 Denecrest
Consett
Co Duham
DH8 6PZ
Carried Out On | 20/07/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replace Boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 3: Report
PLEASE ENSURE THE FOLLOWING INFORMATION IS NOTED WHEN SURVEYING FOR NEW BOILER INSTALLATIONS Pictures of boiler location Downstairs cupboard Boiler serial number Done If Flue is a vertical flue, what access is needed? Horizontal will be easy to access Condensate and blow off pipework / termination Done Current gas supply - what size of gas pipe at the boiler and 15mm how far from the gas meter Other side of wall Number of radiators in the property 7 Size of radiator valves connecting to the pipes 10mm Photograph of fuse board Done Photograph of current thermostat Done Boiler is currently off so this job should be a priority.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes