## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 34 Lynwood House
34 Durham Road
lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9302
DATE OF REPORT: 20/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 34 Lynwood House
34 Durham Road
lanchester
DH7 0LS
Carried Out On | 20/07/2021, 22/07/2021, 28/07/2021, 02/08/2021, 17/09/2021, 20/09/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No cold water available in laundry room. Both cold tap and water inlet feed for washing machines affected.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 3: Report
Please see email previously sent. Also I have now located the harvest tank but will require a second man to assist due confined space and unknown depth of water so the pump can be retrieved Carried out checks to suction pump these deemed fine after testing when removed from well. Looks like the issue is down to the pressure switch inside of the control unit. Fitted a temporary supply to the laundry while a new control is sourced. This is a German unit Replaced rain water harvesting unit then tested for 10 minutes and never tripped off Require a weather proof junction box 2 glands and some aqua gel to waterproof connections for submersible pump Fitted new harvesting pump and all tested and now complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes