## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9305
DATE OF REPORT: 21/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 21/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Please check and repair pipework to property tenants daughter reports that the pipework in property is bouncing hot and only hot water is coming out of the taps no cold at water. Tenants daughter is really concerned about her father given the heat and is worried someone is going to die in the building with how it is. Her father has windows open and fans on and it is still like a sauna.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 3: Report
Attend site 1030 Investigate cold water temperatures in flatv2 find 20° on arrival but cold pipework is next to heating pipework and nothing is lagged this temp is throughout the building, the only answer Is to lag all pipework. Tennant has asked for all exposed heating pipework in the flatvto be lagged northumbria water suggest that the cold water temp be below 21° so the water temps are below this. 25 mtrs 1" silver foil back lagging £300 1 × silver foil tape £5 Tony or Adam could carry this out Offsite 1115 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9305
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes