## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Feetham Court
Forest Hall
Newcastle
NE12 9qj
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9307
DATE OF REPORT: 23/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 31 Feetham Court
Forest Hall
Newcastle
NE12 9qj
Carried Out On | 21/07/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No heating or hot water in bathroom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 3: Report
The resident has no heating. I checked round had no heating coming in to the flat so went to main plant room and found the whole building heating set point had been turned right down on the BMS so I altered the set point to check everything was working as should be and it is. So what I have done is turned it back down again as I don’t know how all the other tenants would feel about having it switched back on.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9307
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes