## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9310
DATE OF REPORT: 17/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 21/07/2021, 02/08/2021, 13/08/2021, 17/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Condensation in water meter. Replacement required. Zenith

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 3: Report
Water meter leaking new needed x 2 Fitted a new hot water meter and secondary hot water meter and altered pipe work to suit. Also replaced 4 underfloor heating cartridges on the heating manifold Materials used 4 x uponor cartridges 1m 28mm copper 1m 15mm copper 1 x15mm non return valve 2 x hot water meters

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes