## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Shelley Court
Pelton Fell
Chester-le-Street
DH2 2QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9324
DATE OF REPORT: 12/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Shelley Court
Pelton Fell
Chester-le-Street
DH2 2QD
Carried Out On | 09/08/2021, 12/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Investigate banging noises pipes are making in corridor - reported by 1 Shelley Court tenant

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 3: Report
Attend site 1630 No noise on arrival but walking around some one flushedca toilet and you can hear water hammer throughout the building karbon need to attend to check all toilets and taps throughout Offsite 1730 complete Found there is and issue with water hammer there is a good chance the pressure reducing valve has failed but the key is missing to the hot water tank room. The room is directly above no 1. There is no contact for Justin

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9324
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes