## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms - Block
Chester Le Street
Co Duham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9326
DATE OF REPORT: 28/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms - Block
Chester Le Street
Co Duham
DH2 3EJ
Carried Out On | 28/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Repair fault on boiler no.5 reported by Sharon Sykes

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 3: Report
Attend site 1230 Gain access to plantroom and find boiler not igniting, carry out checks and fing ignition probe faulty use one from van stock and replace. Test boiler and commission co2 9% high fire co2 on 8.9% low fire all ok boiler now working Parts used 1 x Remeha Quinta pro ignition probe van stock £27 Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes