## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Kininvie Close
Redcar
Cleveland
TS10 4JQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9335
DATE OF REPORT: 23/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Kininvie Close
Redcar
Cleveland
TS10 4JQ
Carried Out On | 22/07/2021, 29/07/2021
Survey Completed By | Ian Atkinson
SECTION 2: Introduction
Boiler Replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 3: Report
PLEASE ENSURE THE FOLLOWING INFORMATION IS NOTED WHEN SURVEYING FOR NEW BOILER INSTALLATIONS Pictures of boiler location Boiler serial number Flue termination If Flue is a vertical flue, what access is needed? Condensate and blow off pipework / termination Current gas supply - what size of gas pipe at the boiler and how far from the gas meter Number of radiators in the property Size of radiator valves connecting to the pipes Photograph of fuse board Photograph of current thermostat Vaillant combi in at mo with vertical flue. Condensate and blow off at back of house. 8 radiators in on 8 mm.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes