## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Foxcover Court
Seaham
Durham
SR7 7PX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9345
DATE OF REPORT: 22/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Foxcover Court
Seaham
Durham
SR7 7PX
Carried Out On | 22/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Shower passing water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 3: Report
Attend site 1800 fo shower not turning off Had to isolate on isolation valves at height , shower is a standard 150mm center surface mounted shower , New shower needed Offsite 1830n

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes