## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville House
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9349
DATE OF REPORT: 14/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Carville House
Carville Road
Wallsend
NE28 6DX
Carried Out On | 26/07/2021, 27/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Annual Service

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 3: Report
Attend site 1000 to carry out a tightness test and service boilers 3 x hamworthy fleet f125v heating boilers stripped and heat exchanger and burners washed and cleaned reassemble and test re commission all ok no issues Offsite 1315 fow Attend site 27/07/21 0800 to carry out annual service on rest of the plant 1 x hamworthy 400ltr heating expansion vessel drained and pressure checked at 1.5bar 1 x hamworthy chesil pressurisation unit checked no issues 1 x grundfos magna 3d 32-80 180 twin set zone 1 heating pumps all ok no issues 1 x grundfos magna 3d 32-80 180 twin set zone 2 heating pumps all ok no issues 2 x seimans zone 1+2 heating valves operating ok manual opened and closed automatically no issues 1 no grundfos dhw pump ok no issues 1 x grundfos mge 80 a twin set primary pumps all ok no issues 2 x Hamworthy powerstock calorfiers checked no issues no leaks all ok 2 x hamworthy 60ltr dhw expansion vessels drained and pressure checked 3.7 bar 2 x seimans dhw valves checked opened manually and closed automatically no issues 2 x birral ch 3110 anti strat pumps ok no issues All pipework and plant in good condition no leaks and lagging in Generally good condition Offsite 1015 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes