## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9394
DATE OF REPORT: 28/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
Carried Out On | 26/07/2021, 28/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating throughout building - faults to all boilers.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 3: Report
Attend site 1315 for no heating Gain access to plant room find no 1 boiler locked out investigate and find loose ignition lead , secure and test boiler now working. Find 3 port closed and VT pumps off checknthe bms and find it switching off when outside temp reaches 18° and outside air tempmpmis actually 22° so no heating required. Offsite 1415 complete 28/07/21 attend site 1700 Find all plant running but boilers held off on bms, check with multimeter to find if the boilers are receiving a signal, find 0 v so bms holding the boilers off. Manually over ride all boilers and pumps so heating comes on and check all components. It looks like the boilers are looking for a flow signal from the pumps so that they run but arnt getting it so left all on hand and bms engineers contacted who informed me that there are issues with the bms and are quoting for remedial works Offsite 1915

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9394
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes