## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Phoenix Rise
Ambassadors Way
North Sheilds
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9469
DATE OF REPORT: 21/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Phoenix Rise
Ambassadors Way
North Sheilds
NE29 8SQ
Carried Out On | 27/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Air source heat pumps & circulating pumps off on high pressure

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 3: Report
Attend site 1030 Find ASHP not working due to pressurisation unit showing high pressure. Drain some pressure out of system and reset unit, which tries to fill system trace fault to faulty transponder , pick up new from border heating and return to site , isolate and drain pressurisation unit down and strip out faulty transponder and replace with new re commission unit , system now running at 1.7 bar all ok Parts used 1 x wilo transponder Offsite 1215 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9469
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes