## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 High Spen
Rowlands Gill
Tyne and Wear
FALSE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9514
DATE OF REPORT: 14/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 High Spen
Rowlands Gill
Tyne and Wear
FALSE
Carried Out On | 14/10/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
Time clock - when heating is turned on it turns hot water on even if set to off. Needs further investigation as possible wiring issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 3: Report
3 port 22mm Honeywell valve fitted to replace original. Heating, hot water, room stat and programmer all working in sync correctly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9514
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes