## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Block - Oakwood Court (Flats 1 - 30)
1 - 30 Oakwood Court
Stanley
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9528
DATE OF REPORT: 09/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Block - Oakwood Court (Flats 1 - 30)
1 - 30 Oakwood Court
Stanley
DH9 8NE
Carried Out On | 09/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Relocation of RPZ valves following failed testing on weekend of 24.07.2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 3: Report
Pick up materials attend site 1330 Drain heating system as theres on isolation on the heating side of the rpz valve once drained strip out the existing rpz valve and alter all pipework to allow relocation of the new rpz valve , fit new valve with new quarter turn isolation valves fill and vent heating system install new drain pipework Parts used 1 no 1/2" honeywell rpz valve 2 ni 15mm isolation valves 2 no1/2" -15mm copper unions 1 x 15mm copper 2 x 15mm pressfit elbows Offsite 1645 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 4: Photos
Room / Area
Description
Notes
New rpz valve relocated and installed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes