## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Mayfield Park
Bristol Drive
Battle Hill
Ne28 9RH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9647
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 42 Mayfield Park
Bristol Drive
Battle Hill
Ne28 9RH
Carried Out On | 30/07/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No hearing/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 3: Report
Gained access to plant room, checked control panel. Fault lights illuminated on ASHP 1 ASHP 2 ASHP 4 Reset switches, no fault lights showing. Demand at both VT valves no demand at boilers, switched boilers from auto to manual.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 4: Photos
Room / Area
Plant room
Description
Control panel
Notes
Room / Area
Plant room
Description
VT valve 1
Notes
Room / Area
Plant room
Description
VT VALVE 2
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 4: Photos
Room / Area
Plant room
Description
Boilers operational
Notes
Room / Area
Plant room
Description
Hot water temp
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9647
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes