## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms
Chester Le Street
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9649
DATE OF REPORT: 01/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms
Chester Le Street
DH2 3DQ
Carried Out On | 01/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No hot water throughout site

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 3: Report
Checked control panel, numerous red lights illuminated. Reset trip. Fault occurring on pressurisation unit, checked unit. Pump 1 ok, pump 2 fail. Heating flow and returns below 100⁰f on arrival, rising above 120⁰f on leaving. Hot water system temperature reading 40⁰c and rising. Checked hot water at kitchens, hot water at all draw off points.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 4: Photos
Room / Area
Description
Pressurisation unit showing pump 2 fail.
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9649
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes