## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Pavillion Court
Esh Winning
Durham
DH7 9HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9651
DATE OF REPORT: 01/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Pavillion Court
Esh Winning
Durham
DH7 9HA
Carried Out On | 01/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Leak within kitchen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 3: Report
Water pooling on kitchen floor and under kitchen unit. Checked all pipework, seals and customers washing machine for leaks, none found in kitchen. Bathroom on other side of wall, removed bath panel and found burst 15mm compression to 22mm tap connector flex hose. Attempted to isolate hot water but unsuccessful, isolated all water to prevent further damage. Urgent follow on required, renew hot water bath connection flexible hose.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes