## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
59 The Crescent
Chester-Le-Street
County Durham
DH2 2DY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9708
DATE OF REPORT: 03/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 59 The Crescent
Chester-Le-Street
County Durham
DH2 2DY
Carried Out On | 03/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Urgent - Please renew boiler - boiler is currently off at present due to old boiler being condemned ---- ---- Job requested and authorised by Lee Carr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 3: Report
Current boiler is a Worcester greenstar he combi located in the ground floor kitchen with horizontal flue to outside. Access to existing condensate pipework is available and gas connections are in 22mm copper. Current controls are danfoss RF stat and Danfoss RX1 receiver. Images provided via separate email to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes