## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Aged Miners Homes
Fishburn bungalows
Fishburn
Ts21 4ea
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9747
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Aged Miners Homes
Fishburn bungalows
Fishburn
Ts21 4ea
Carried Out On | 04/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Leak within Bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 3: Report
Snapped float valve arm on wc, Isolated water supply to wc isolation valve on cold feed, New 15mm bottom entry float valve required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 4: Photos
Room / Area
Description
Float valve
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes