## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-16 Chirton House
Headlam Green
Newcastle upon Tyne
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9790
DATE OF REPORT: 06/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-16 Chirton House
Headlam Green
Newcastle upon Tyne
NE6 2TW
Carried Out On | 06/08/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
no hot water or heating following on from a power cut power is back on now but heating and hot water are off ---- ---- reported by number 14

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 3: Report
Boilers were working but unfortunately the inverter’s for the heating pumps needed resetting and the speed drive re inputting

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes