## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Dovecote Drive
Pelton Fell
Chester-le-Street
DH2 2AH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9905
DATE OF REPORT: 06/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Dovecote Drive
Pelton Fell
Chester-le-Street
DH2 2AH
Carried Out On | 06/08/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Leak on radiator in bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 3: Report
Tenant reported water on floor in bathroom thought it was from radiator. Not the case. On further investigation leak was coming from waste pipe leading from sink. Connection had not been glued properly. Cleaned up fitting and pipe and glued pipe into fitting properly. Checked for leaks after fix and no signs of any further leaks. Boxing in around pipework puts to much pressure on pipe so left loose. Boxing in will need to be amended and fixed as slightly damaged when removed as rotten from leak.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 4: Photos
Room / Area
Bathroom
Description
Pipework before.
Notes
Room / Area
Bathroom
Description
Notes
Pipework after
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes