## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QL
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9906
DATE OF REPORT: 12/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 10 Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QL
Carried Out On | 06/08/2021, 10/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
OOH - no heating to the property all flats affected alot of elderly tenants in the block she is calling on their behalf communal heating system

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 3: Report
06/08/2021 CH pumps weren't circulating. Switched from auto to manual on pump 1 on control panel and pumps started circulating. Left on manual. Follow on work required from commercial engineer to check why pump had failed. Onsite 0800 10/08/21 Check operation of heating pumps find both ok no issues, check bms signals to both and find no signal when in auto also find vt actuator manually open. Put actuator and all panel into auto and watch what happens, after bms closed vt actuator and switched off heating pumps , check bms panel and is not calling for heat due to outside air temp being 22.3°. Contact multiphase who say the system is supposed to run like this and there's no way I can interigate and alter the settings as bms is locked. So had to leave no 1 pump running and manually open vt actuator 1/2 way so site has heating. Would require multiphase to attend to alter settings Also notice no 3 boiler has been isolated with a note that it requires a gas valve. Offsite - complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 4: Photos
Room / Area
Plant room
Description
Switched to manual
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9906
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes