## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 St James Court
Consett
County Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9907
DATE OF REPORT: 07/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 St James Court
Consett
County Durham
DH8 5YJ
Carried Out On | 07/08/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 3: Report
Low pressure on boiler. Checked expansion and prv no problems with either. No signs of leaks on rads. Topped pressure up checked both heating and hot water both working fine. Advised tenant to keep an eye out for any signs of leaks on CH system.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Low pressure
Notes
Room / Area
Hallway cupboard
Description
Boiler Working
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes