## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Parkside Court
Chopwell
NE17 7DS
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9908
DATE OF REPORT: 07/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Parkside Court
Chopwell
NE17 7DS
Carried Out On | 07/08/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 3: Report
Low pressure on boiler. Topped up. Tested both expansion and prv no problems with them. Slight leak from auto air valve so closed off. If problem with pressure happens again recommend leak sealer to be put into system and new auto air valve to be fitted. Tested both heating and got water when topped up pressure and both working.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Boiler fired up after topping pressure up.
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9908
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes