## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9923
DATE OF REPORT: 13/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 10/08/2021, , 13/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant at number 24 reports no heating and hot water and tank is leaking in kitchen ---- ---- No Covid issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 3: Report
Attend site 1330 Investigate water leak on hiu unit , fine water leaking from bottom connection from pump, drain unit and strip down remake unit and refill , find still leaking, drain down again and stripnwhole pump out find union split isolate unitvand order new pump Offsit 1530 new pump needed 13/08/21 ATTEND SITE 0830 after collecting parts No access to flat until 0930 as tenant wouldn't come to Dore until 0930 Had to empty kitchen aswashing machine in middle of floor and benched stacked high with assorted so I could get access once insit hiu the unit was drained and the old pump removed and the new pump fitted the system wS filled and vented and commissioned tenant now has heating and hot water The unit was leaking for a long time as the kitchen cuboards are wrecked as well as the benches there's also water leaked into the corridor Parts used 1 mhs hiu pump Offsite 1130 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 4: Photos
Room / Area
Description
Notes
Pump leaking from bottom union
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes