## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9942
DATE OF REPORT: 10/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 10/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Two part valve required- Flat 17 - Leaking valve resolved and engineer reports, this is now required ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 3: Report
Attend site 1115 to replace 2 port valve Gain access to flat by contacting her daughter , isolate and drain down heating system and strip out old faulty 2 port valve and install new honeywell 22mm 2 port valve altering pipework as old valvdcwas 15mm. One installed system was filled and vented and new valve tested , this now opens when room stat calls for heating and the valve closes when the room stat is turned down. Left all working Parts use all from van stock 1 no honeywell 2 port valve £90 1 no 22mm copper pipe £15 1 no 22mm copper slip fitting £5 1 no 22mm - 15mm reducer £5 All from van stock Off site 1315 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9942
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes