## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Delight Court
Dipton
Stanley
DH9 9XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9972
DATE OF REPORT: 09/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Delight Court
Dipton
Stanley
DH9 9XL
Carried Out On | 09/09/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Flue leaking causing damage to the surrounding plant

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 3: Report
0845 . 0930 pick up parts for flue condensate pipework Return to site 1430 Install flue condensate pipework in 1 1/4" and fit traps test all for soundness and recommission boilers , complete service paperwork and send into office , clear plantroom and pipe rubbish in plantroom for Tony to collect and sweep around Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9972
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes