## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
1 - 22 Haven House Valley View
Leadgate
DH8 7PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9974
DATE OF REPORT: 11/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
1 - 22 Haven House Valley View
Leadgate
DH8 7PS
Carried Out On | 11/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water to kitchen bathroom and guest room. elec on site adv showing error code 4 - reset and kicked in ---- 4th grundfoss pump not working in boiler room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 3: Report
Attend site 1600 for no heating or hot water Gain access to plantroom find no pressure inthe heating system fill and vent reset boiler wait until all up to temp Offsite 1645 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9974
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes