## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Chirton House
Headlam Green
Byker
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9976
DATE OF REPORT: 11/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Chirton House
Headlam Green
Byker
NE6 2TW
Carried Out On | 11/08/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No hearing / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 3: Report
Boiler no 2 in fault code EE on arrival, when checked it relates to an issue with the PCB. Reset boiler and it fired on second attempt as went back to fault code after first attempt. Passed pictures onto management of plant room. Showing signs of a leak from pump 1. Slight damage to flue on boiler number 1, could do with a flue guard fitting. Sent email to admin with pictures. FOW required to investigate leaking pump and reason boiker going into fault.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes