## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tindale Drive
Fellside Park
Whickam
NE16 4HX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9977
DATE OF REPORT: 12/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tindale Drive
Fellside Park
Whickam
NE16 4HX
Carried Out On | 11/08/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigation into heat alarm within plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 3: Report
Investigate heat alarm activation from plant room. Checked and nothing out of the ordinary causing alarm to activate. Checked fire panel on entry to building and nothing obvious to signify any issues.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9977
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes