## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Wallsend
Tyne and Wear
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9988
DATE OF REPORT: 12/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rosebank Hall
Wallsend
Tyne and Wear
NE28 7BT
Carried Out On | 12/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Leak in ceiling of hairdressers. Please remove water meter as a matter of urgency

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 3: Report
Attend 1300 Find heating pipework water meter leaking isolate heating pipe and drain down , once drained down strip out water meter and fit 15mm pipework in its place using 15mm pressfit slip joints fill and vent test all ok. Parts usd 15mm copper tube 15mm copper pressfit slips x2 All from van stock Offsite 1445 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes