## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-14018
DATE OF REPORT: 25/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
Carried Out On | 01/01/2022
Survey Completed By | Gary Ward
SECTION 2: Introduction
Communal no heating / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 3: Report
Arrived at job and spoke to several residents and was informed no issues, walked round feeling heating and all working, tested hot waterfall working. No issues in plant room, nothing to reset and pressure unit working fine.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14018
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes