## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 St James Court
Consett
County Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14126
DATE OF REPORT: 05/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 19 St James Court
Consett
County Durham
DH8 5YJ
Carried Out On | 05/01/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Tenant called and advised gas not working in the property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 3: Report
Tenant has dropped a candle behind rad in bathroom causing the plastic CH pipe to melt. I've removed rad, cut off melted bit of pipe and capped. I don't have any 10mm fittings or plastic pipe to repipe rad. I've topped system back up once CH pipe has been capped so tenant still has heating and hot water but bathroom rad is not connected. Need to reattend and repipe rad. Some 10mm plastic pipe and inserts. Also a 10mm push fit straight is required. KH 5/1/22

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Melted plastic pipe.
Room / Area
Bathroom
Description
Notes
Cut back and capped pipe.
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes