## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Blair Court
Langley Moor
County Durham
DH7 8YD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14130
DATE OF REPORT: 06/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 14 Blair Court
Langley Moor
County Durham
DH7 8YD
Carried Out On | 05/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
HW flow switch & possible cartridge required resident has heating but no hot water asap

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 3: Report
When arriving tenant said that DAMAH had been out to see boiler, upon inspection I noticed that the sensor on the flow turbine had been removed leaving tenants with only heating. Heating was working fine but hot water was intermittent due to faulty sensor. Boiler was not registering that the hot water was running when it was, there for the fault must be the flow turbine. Checked the diverted cartridge was moving freely and it was. Finished @18:12 did press stop but didn’t come on. OOH CALL-OUT

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14130
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes