## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sherries Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14154
DATE OF REPORT: 06/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Brownsea Place
Sherries Hill
Gateshead
NE9 5PZ
Carried Out On | 05/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Check plant room for correct operation

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 3: Report
When arriving boilers both in operation with working screens. Flow and return temperature showed that heat was getting to the building. All pumps were in working also. OOH CALL-OUT

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14154
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes