## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 George Parkinson Court
Sherburn Village
Durham
DH6 1EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14155
DATE OF REPORT: 06/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 George Parkinson Court
Sherburn Village
Durham
DH6 1EU
Carried Out On | 06/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
F22 Fault - Reset required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 3: Report
When arriving in on site seen boiler was in F22 fault but I have not so long been to this property for the same fault. With no sign of leaking anywhere in the house I opened up the boiler casing which was full with water. Upon further inspection I found that an o ring in the back right hand side of the houser needed changed. Pictures send to DH.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes