## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 St Ives Gardens
Leadgate
Consett
DH8 7PQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14178
DATE OF REPORT: 06/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 St Ives Gardens
Leadgate
Consett
DH8 7PQ
Carried Out On | 06/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler survey ahead of install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 3: Report
Boiler to be removed - ideal classic SE12 FF Boiler location - kitchen Flue type - horizontal Flue guard needed - no Stand off kit required - yes Gas meter - external Condensate pump required - no strap on boss for rainwater pipe Updated controls required - yes Filter needed - yes Number of bedrooms- 3 Number of bathrooms - 2 Electric shower - tenant seems Any other means of heating - no Boiler will be a Y plan conversion

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14178
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes