## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 Maude Terrace
St Helen Auckland
Bishop Auckland
DL14 9BW
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14202
DATE OF REPORT: 06/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 39 Maude Terrace
St Helen Auckland
Bishop Auckland
DL14 9BW
Carried Out On | 06/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler has gone off - tenant says this has happened a few weeks ago also - boiler is showing fault

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 3: Report
When arriving boiler showing F28 (frozen condensate or gas issues) when disconnecting the flexi condensate pipe from plastic pipe lots of water came out and boiler would run. Booked the kettle and poured it on the pipe outside where I expected the blockage to come from and blockage had cleared. Condensate put back together and boiler fired up and left for ten minutes. Condensate to be changed to 32mm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes