## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thomas Swan
Rotary Way
Consett
DH8 7ND
CARRIED OUT ON BEHALF OF
Thomas Swan & Co Ltd
REPORT NUMBER: 22-14205
DATE OF REPORT: 17/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thomas Swan & Co Ltd
Address | Rotary Way
Consett
Co Durham
DH8 7ND
Site Address | Thomas Swan
Rotary Way
Consett
DH8 7ND
Carried Out On | 15/01/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Works detailed in Quotation ZMS914

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 3: Report
Carrying out maintenance work to 44No thermostatic radiator valves, including the replacement of 4No thermostatic radiator valves which were beyond repair. Location - 1No downstairs ladies toilet, 1No downstairs men's toilet, 1No upstairs ladies toilet, 1No upstairs men's toilet. The cold water wc filling valves also required replacing - Locations 2No upstairs ladies wc and 1No upstairs men's wc. 1No downstairs men's and ladies wc ball valves overhauled with new washers. 16.01.2022 - Heating reinstated, however it was found that the pressurisation unit was faulty, thus locking out the boiler and ancillary equipment. The fault was traced to the 8 litre expansion vessel which had burst and so this was replaced. Recommendations Plant Room - boiler is in a very dirty condition and in need of a service and setting up correctly. There is also a slight smell of gas coming from the unit and I suspect it is leaking from the gas valve. Also, 3 port actuator is faulty. Materials used 4x cold water fill valves 3x Drayton TRVs 1x Center brand sensor head 2x Aqua save ball valve washers 4x 15mm thermostatic mixing valves

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes