## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Orchid Court
Blackhall
Cleveland
TS27 4JH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14224
DATE OF REPORT: 03/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Orchid Court
Blackhall
Cleveland
TS27 4JH
Carried Out On | 03/02/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Spark generator not working on gas fire Robinson Willy Sahara GC 32 689 39 From Service (21-12776)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 3: Report
Wrong spark generator for the fire. Seeing if correct part can be sourced.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes