## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Waterside Court
Stanhope
Bishop Auckland
DL13 2TU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14261
DATE OF REPORT: 08/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Waterside Court
Stanhope
Bishop Auckland
DL13 2TU
Carried Out On | 08/01/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Leak from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 3: Report
Job didn't start at correct time. Should have started at 12:39 Diverted has failed causing a heavy leak inside boiler. Boiler is not to old so should be under warranty. I've attached a copy of data badge with boiler details on, check if under warranty if so make a warranty call. If not new diverted valve will be needed. Left x2 temp heaters as can't leave boiler on. Tenant has Electric shower.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Boiler data badge
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes