## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-14263
DATE OF REPORT: 08/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 08/01/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigate issues with underfloor heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 3: Report
No problems with underfloor heating, circulating as it should be. Tenant says that once heating goes off as by the timer the property doesn't hold its heat as well. Advised this isn't a heating issue. Advised its colder so could affect how quickly the flat cools down. Set timer to come on 30 mind earlier and go off 30 mins later in morning and afternoon timings and Advised to leave stat turned up slightly higher.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Ufh manifold
Room / Area
Living room
Description
Notes
Ufh circuit
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14263
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes