## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 William Whitley Homes
Greenside
Ryton
NE40 4SG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-14331
DATE OF REPORT: 12/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 William Whitley Homes
Greenside
Ryton
NE40 4SG
Carried Out On | 12/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
cold tap dripping in kitchen and toilet flush handle not going back up when flushed. iss sh

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 3: Report
Replaced cold kitchen tap barrel using van stock. Faulty handle was stuff and wouldn’t come back up after it had been flushed causing the tenant to have to pull it back every time. Replaced toilet flush handle. Also purchased s siphon on the same ticket incase that needed changed also as arm seemed stiff aswell but when new handle was put on it was better. Siphon to be kept as van stock.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-14331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes